## Electrical make
LIST OF APPROVED MAKES
Sl. No. | EQUIPMENT/MATERIAL | APPROVED MANUFACTURER
1 | 22 kV SF6 Panels | ABB /Siemens/Schneider
2 | 22 kV Grade XLPE HT Cables | Havells/Polycab/Apar/KEI/Finolex
3 | HT Jointing Kit | Raychem/Birla 3M/M-Seal
4 | HT Cable Termination Kit | Raychem/Birla 3M/M-Seal
5 | Cable lugs & thimbles | Dowell/comet/Braco
6 | Cable glands | HMI/Lotus/Commet/Polycab/Dowell/Braco
7 | 22kV/433V ONAN Type Step Down Transformer with OLTC | Crompton/ReyChem/Emco/Voltamp/Cahors/ESENNAR
8 | Battery Charger | Ambit/Crompton Greaves/DB/Chabbi/Altroxic/HBL
9 | Batteries (Sealed Maintenance Free) | Amarja Raja/Exide/Amron/Quanta/Rocket
10 | Batteries (Lead Acid) | Amarja Raja/Exide/Amron/Quanta/Rocket
11 | MCCB’s & ACB’s,MCB’s & DB's,ELCB’s, RCBO’s & RCCB's,MPCB’s : | L&T/Schneider/Siemens/ABB/Legrand/Hager
12 | HRC Fuses & Fues Switch Units | ABB/Schneider/L & T
13 | Moulded Socket outlets / Weatherproof/ Metal Clad Socket Outlets | Clipsal/MK India/Hensel/Legrand/Schneider
14 | Change Over Switchs | Asco
15 | Contactors & O/L relays with in built SPP | Telemecanique/ABB/Schneider/Siemens/L&T
16 | SPP | Minilec
17 | Indication Lamps | Schneider/ESSBEE-L&T/Siemens/ABB
18 | Push Buttons | Schneider/ESSBEE-L&T/Siemens/Teknic/L& T
19 | Selector Switches | L & T - Salzer/Kaycee/Siemens/Sulzer
20 | Electrical Terminals | Elmax/Connectwell
21 | Multifuction Meter – Digital / Multifunction / VAF / Load Manager (BMS / Non BMS compatible) | Conzerv/Elmeasure/Secure/Newtek
22 | Meters-Analogue | Rishab-L&T/AE/Conzerv
23 | Timers | Siemens/L & T/Schneider/Legrand/Hager/ABB
24 | Relays (Numeric Type) | ABB/Schneider/L&T/Areva
25 | Relays (Electromagnetic Type) | Areva/Easun Reyrolle
26 | Capacitors : Heavy duty type (MPPH type) | Epcos/Schneider/Ducati/Shreem/Power matrix/Clarint
27 | APFC Panel | Epcos/Schneider/Ducati/Shreem/Power matrix/Clarint/Arrow/Zenith/Power Control/SGM/Marine Electricals
28 | APFCR (Automatic power factor correction relay) Micro Processor Based (BMS Compatible) 3 Phase type | Epcos/L&T/Schneider
29 | Detuned Filters | Epcos/Schneider/Ducati
30 | Cast Resin Current Transformers | Kappa/Precise/Gilbert Maxwell/Pragati/Newtek
31 | Potential Transformers | Automatic Electric/Kappa/Pragati/Newtek
32 | Softstarter | ABB/Schneider
33 | PLC | Alan Bradley/Siemens
34 | Annunciator | Alain/Minilec
35 | Surge Suppressor Device | ASCO (Imported)
36 | ATS (Automatic Transfer Switch) | ASCO (Imported)
37 | FRLS PVC Conduits & Accessories | Precision/Precision-Deco/BEC/AKG
38 | MS / GI Conduits | Jindal/Tata/BEC/Vimco/Steel craft/AKG
39 | Switches & Sockets- Modular type | Clipsal/opale- Schneider/MK-blenze/Legrand (Myris)
40 | Lighting Fixtures | Wipro/Philips/Bajaj/Havells/Panasonic
41 | Tube Lights & Lamps | Philips/Osram/Bajaj/Havells/Panasonic
42 | LV Halogens Lamp transformers(Electronic) | Philips
43 | High Performance, HF Electronic Ballasts (DIM & NON DIM) for lamps | Philips
44 | Exhaust Fans / Ceiling Fans | Usha/Crompton Greaves/Havells
45 | 1100 V grade FS cable | Finolex/Bon Ton/KEI/APAR/Polycab/Avocab
46 | 1100 V grade FRLS (Fire Retardant low smoke) HR FRLS PVC insulated unsheathed, flexible, copper conductor wires | Finolex/KEI/APAR/Polycab/Havells
47 | 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Al. / Cu. conductor,Armoured/ Unarmoured cables as per IS:7098 Part-I | Polycab/KEC/KEI/APAR/Polycab/Havells
48 | 1.1kV grade LT PVC insulated, PVC sheathed, stranded Al. / Cu. conductor, Armoured/ Unarmoured cables as per IS:1554 | Polycab/KEC/KEI/APAR/Havells
49 | 1.1kV grade Single core LT PVC insulated, unsheathed, multi strand, flexible Copper conductor Un. Ar. Cables as per IS:694. | Havells/KEI/APAR/Polycab
50 | Starter cum Charger Panel for Engine Driven Fire Pump | Antronix/Wilo
51 | GI Cable trays & GI Raceways | Profab/Elcon/Indiana/Asian
52 | Exit Signage | Prolite/Cease Fire/MK/Prestolite
53 | LT Panels and Sub Panels | Arrow/Zenith/Power Control/Marine Electricals
54 | Pipe-in-pipe earthing | Alltec/Ashlok/BSH
55 | Fire sealing compound | Hilti
56 | Dimming System & Sensors | Lutron
57 | Compact sandwitch type Bus duct | Godrej/Entraco/Schneider/EAE/Legrand/L&T
58 | Inverter | Luminous/Su-kam/Microtek/Consul
59 | Batteries (Sealed Maintenance Free) | Exide/Amron/Amarja Raja/Quanta/Rocket
60 | Rubber Mats | Jyoti/Maruti/HITECH/KANTAFLEX/Commerical
61 | Fire Extingusher | Tyco/Minimax/Dupoint/Safex/Ewersafe/Supermax/Intime/Nitin fire/Ceasefire
62 | UPS | Emerson/APC/Socmac/Eaton/Delta
63 | Lightning Arrestor System (Control steamer Emission Type) | OBO/DHEN/Furse

## DG make
KRC
SL # | MATERIAL DESCRIPTION | MANUFACTURER / SUPPLIER
1 | DG Engine | Cummins / Caterpillar / MTU /Perkins
2 | L T Switchgear | ABB/ Schneider /L& T / Seimens
3 | LT Switchboard/MCC/DGCP/ Bus Duct | Arrow, Zenith, Power control, marine Electrical
4 | LT cables | Polycab, Kei, Apar, Havells, Finolex
5 | Flexible – Copper Cables | Polycab, Kei, Apar, Havells, Finolex
6 | L.T cable termination kits | Raychem / M-Seal
7 | Wires (FRLS Grade) | Polycab, Kei, Apar, Havells, Finolex
8 | FS cables | Finolex/Bon Ton/KEI/APAR/Polycab/Avocab
9 | DG Alteranator | Loyersomer,Stamford,AVK